## Slide 1
Webinar will begin soon
gswater.com
Public Health Goal Report 2022

## Slide 2
Public Health Goal Report 2022
Golden State Water Company
October 2022​
gswater.com
Rocio Flores
Associate Water Quality Engineer -- Orange County District
1

## Slide 3
gswater.com
Introductions
Water Quality Manager
Samantha Chen
Water Quality Engineer -- Southwest District
David Schultise
Associate Water Quality Engineer -- Orange County District
Rocio Flores
2

## Slide 4
gswater.com
Overview
  Company Background
  Commitment to Water Quality
  Purpose of Public Meeting
    Public Health Goals
    Constituents
    Treatment Costs
  Questions
3

## Slide 5
  Subsidiary of American States Water Company
  Providing water service since 1929
  Team of more than 500 water professionals delivers reliable, high-quality water that meets all state and federal drinking water standards
  Provides water service to approximately 1 million customers in more than 80 communities throughout California
gswater.com
Golden State Water Company
4

## Slide 6
gswater.com
Commitment to Water Quality
  Maintaining high-quality water and reliable service is a high priority for Golden State Water (GSW)
  The water delivered to your tap continues to meet all federal and state quality standards established to protect public health and safety.
  GSW does not serve water that contains contaminants in violation of recognized and enforceable Maximum Contaminant Levels (MCLs).
  Water Quality data can be found in your Consumer Confidence Report www.gswater.com/annual-water-quality-reports
5

## Slide 7
gswater.com
What are Public Health Goals?
  Public Health Goal (PHG) – The level of a contaminant in drinking water below which there is no known or expected risk to health
  Non-enforceable goals
  Established by California EPA’s Office of Environmental Health Hazard Assessment (OEHHA)
6

## Slide 8
gswater.com
What are Public Health Goals?
  Maximum Contaminant Level Goal (MCLG) – the level of a contaminant in drinking water below which there is no known or expected risk to health. Established by US EPA
  Maximum Contaminant Level (MCL) – the highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the public health goals and maximum contaminant level goals as is economically and technologically feasible.
7

## Slide 9
gswater.com
What are Public Health Goals?
  Water agencies are required to publicly disclose information on levels of contaminants even below the enforceable mandatory Maximum Contaminant Levels (MCLs)
  Must disclose the estimated cost of reducing the contaminant regardless of minimal risk
  Findings are presented at a publicly noticed meeting and at www.gswater.com/annual-water-quality-reports
8
Notes: Please update link to take customers to PHGs website. This is the annual reports (consumer confidence reports).

## Slide 10
Public Health Goal Reports
gswater.com
  California Health and Safety Code Section 116470(b) requires larger water utilities (>10,000 connections) to prepare a special report every 3 years on water quality measurements that exceed a PHG
    Requires water suppliers to use the MCLG where OEHHA has not established a PHG
  2022 PHG Report uses data from 2019 - 2021
9

## Slide 11
gswater.com
Service Areas
  Most residents of Artesia and Hawaiian Gardens
  Parts of Lakewood, Los Alamitos, Long Beach, and Cerritos
Artesia
  Simi Valley
Simi Valley
  Claremont
Claremont
  Southwest Los Angeles County
  Gardena
  Lawndale
  Portions of Carson, Compton, El Segundo, Hawthorne, Inglewood, Redondo Beach
  Unincorporated Athens, Del Aire, El Camino, Village Lennox, and Gardena Heights
Southwest
  Rancho Cordova
  Gold River
Cordova
  Los Alamitos
  Cypress
  Stanton
  Small portions of the cities of Garden Grove, La Palma, Buena Park and Seal Beach
  Placentia
  Yorba Linda
West Orange & Placentia Yorba Linda
10
Orcutt
  Orcutt

## Slide 12
gswater.com
Constituents
  Arsenic
    PHG level – 4 nanograms per liter (ng/L)
    MCL is 10 µg/L
    Best Available Technologies (BATs) to remove arsenic include activated alumina, ion exchange, lime softening, coagulation/filtration, and reverse osmosis (RO)
    Most effective and consistent method to remove arsenic to below the PHG is RO
    Southwest, Artesia, West Orange, Claremont, Simi Valley, Orcutt, Cordova
11

## Slide 13
gswater.com
Constituents
  Tetrachloroethylene (PCE)
    PHG level – 0.06 micrograms per liter (µg/L)
    MCL is 5 µg/L
    BATs to remove PCE include granular activated carbon (GAC) and packed tower aeration
    Most effective and consistent method to remove PCE to below the PHG is GAC
    Artesia, Cordova
12

## Slide 14
gswater.com
Constituents
  Trichloroethylene (TCE)
    PHG level – 1.7 micrograms per liter (µg/L)
    MCL is 5 µg/L
    BATs to remove TCE include GAC and packed tower aeration
    Most effective and consistent method to remove TCE to below the PHG is GAC
    Cordova
13

## Slide 15
gswater.com
Constituents
  Dibromochloropropane (DBCP)
    PHG level – 3 micrograms per liter (µg/L)
    MCL is 200 µg/L
    BATs to remove DBCP include GAC and packed tower aeration
    Most effective and consistent method to remove DBCP to below the PHG is GAC
    Claremont
14

## Slide 16
gswater.com
Constituents
  Uranium
    PHG level – 0.43 pico-Curies per liter (pCi/L)
    MCL is 20 pCi/L
    BATs to remove Uranium include ion exchange, RO, lime softening, or coagulation/filtration
    Most effective and consistent method to remove uranium to below the PHG is RO
    Southwest, Artesia, Placentia Yorba-Linda, West Orange, Claremont, Simi Valley, Orcutt
15

## Slide 17
gswater.com
Constituents
  Bromate
    PHG level – 0.1 micrograms per liter (µg/L)
    MCL is 10 µg/L (Based on a running annual average)
    BATs to remove bromate include reduction of naturally occurring organic matter (NOM). Since bromate is found in our purchased water this can not be accomplished
    Most effective and consistent method to remove bromate to below the PHG is RO
    Southwest, Placentia Yorba-Linda, West Orange
16

## Slide 18
gswater.com
Constituents
  Perchlorate
    PHG level – 1 micrograms per liter (µg/L)
    MCL is 6 µg/L
    BATs to remove perchlorate include ion exchange and biological treatment
    Most effective and consistent method to remove perchlorate to below the PHG is ion exchange
    Placentia Yorba-Linda, West Orange, Claremont, Cordova
17

## Slide 19
gswater.com
Constituents
  Gross Alpha Particle Activity
    MCLG level – 0 pico-Curies per liter (pCi/L)
    MCL is 15 pCi/L
    BATs to remove gross alpha include RO
    Most effective and consistent method to remove gross alpha to below the PHG is RO
    Southwest, West Orange, Claremont, Simi Valley, Orcutt
18

## Slide 20
gswater.com
Constituents
  Gross Beta Particle Activity
    MCLG level – 0 millirem per year (mrem/yr)
    MCL is 4 mrem/yr
    BATs to remove gross beta include RO and ion exchange
    Most effective and consistent method to remove gross beta to below the PHG is RO
    Southwest, Placentia Yorba-Linda, West Orange, Claremont
19

## Slide 21
gswater.com
Constituents
  Fluoride
    PHG level – 1 milligrams per liter (mg/L)
    MCL is 2 mg/L
    Fluoride is added as a regulatory requirement. The optimal level set by EPA is 0.7 mg/l
    No treatment is proposed for this constituent
    Southwest, Orcutt
20

## Slide 22
gswater.com
Constituents
  Lead
    PHG level – 200 nanograms per liter (ng/L)
    MCL is 15 µg/L
    BATs to remove lead include RO
    Most effective and consistent method to remove lead to below the PHG is RO
    Orcutt
21

## Slide 23
System Name | Arsenic (µg/L) | PCE (µg/L) | TCE (µg/L) | DBCP (ng/L) | Uranium (pCi/L) | Bromate (µg/L) | Perchlorate (µg/L) | Gross Alpha (pCi/L) | Gross Beta (pCi/L) | Fluoride (mg/L) | Lead (ng/L)
Southwest | 3 |  |  |  | 3 | 9.8 |  | 9.9 | 7 | 2 | 
Artesia | 16* | 0.66 |  |  | 2.8 |  |  |  |  |  | 
Placentia /Yorba Linda |  |  |  |  | 6 | 5.9 | 3.9 |  | 7 |  | 
West Orange | 5 |  |  |  | 15 | 5.9 | 3.7 | 4 | 7 |  | 
Claremont | 5.6 |  |  | 26 | 3.3 |  | 3 | 13 | 3.82 |  | 
Simi Valley | 1.3 |  |  |  | 5.5 |  |  | 14 |  |  | 
Orcutt | 1 |  |  |  | 4.1 |  |  | 11 |  | 1.1 | 580
Cordova | 2.6 | 0.66 | 2.5 |  |  |  | 5.1 |  |  |  | 
gswater.com
Summary of Detections
22
*Only one sample in 2021 had a detection above the MCL and the well was taken offline upon notification of the results. Compliance is based on the monthly average and it was below the MCL. Our water system is in full compliance with the drinking water standard for arsenic, but the arsenic level in the system at times exceeds the PHG.

## Slide 24
System Name | Arsenic | PCE | TCE | DBCP | Uranium | Bromate | Perchlorate | Gross Alpha | Gross Beta | Fluoride | Lead
Southwest | RO |  |  |  | RO | RO |  | RO | RO | N/A | 
Artesia | RO | GAC |  |  | RO |  |  |  |  |  | 
Placentia/ Yorba Linda |  |  |  |  | RO | RO | IX |  | RO |  | 
West Orange | RO |  |  |  | RO | RO | IX | RO | RO |  | 
Claremont | RO |  |  | GAC | RO |  | IX | RO | RO |  | 
Simi Valley | RO |  |  |  | RO |  |  | RO |  |  | 
Orcutt | RO |  |  |  | RO |  |  | RO |  | N/A | RO
Cordova | RO | GAC | GAC |  |  |  | IX |  |  |  | 
gswater.com
Treatment Selected
RO = Reverse Osmosis
GAC = Granular Activated Carbon
IX = Ion Exchange
23

## Slide 25
gswater.com
Treatment Costs
  Costs of treatment depend on several factors:
    Type of treatment
    Number of treatment facilities required
    Number of contaminants to be removed
    Number of treatment technologies required
    Volume of water treated
24

## Slide 26
System Name | No. of Sites | Annual Cost | Monthly Cost/Connection
Southwest | 14 | $77,800,818 | $124.95
Artesia | 8 | $15,828,412 | $122.77
Placentia/Yorba Linda | 6 | $33,392,512 | $216.02
West Orange | 17 | $66,398,081 | $198.79
Claremont | 13 | $13,609,364 | $99.64
Simi Valley | 1 | $3,422,667 | $21.13
Orcutt | 3 | $4,817,275 | $34.28
Cordova | 8 | $6,118,269 | $34.45
gswater.com
Treatment Costs
25

## Slide 27
gswater.com
For Additional Information
Website
Gswater.com/conservation
Email
conservation@gswater.com
Facebook/Twitter
@GoldenStateH2O
Phone
800.999.4033
26

## Slide 28
Golden State Water Company
gswater.com
Thank You Questions?
Gswater.com | 800.999.4033 | @GoldenStateH2O
www.gswater.com/post/2022-reports-public-health-goals